# Pelican Point Water Quality Report – 2020

# ID # 66800 L -  Grant County

Last year, we conducted more than 26 tests for over drinking water contaminants. We only detected NO contaminants. This report is a snapshot of the quality of the water that we provided last year. Included are details about where your water comes from, what it contains, and how it compares to Environmental Protection Agency (EPA) and state standards. We are committed to providing you with information because informed customers are our best allies. For more information about your water, call Gem State Water at 1.877.755.9287.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Your water comes from two municipal wells drilled to 468’ and 450’ respectively. One well is located in Pelican Point upper park and the other is located at Baseline Point 5 S.E. After the water comes out of the wells, we treat with 12.5% sodium hypochlorite for contaminants. The system has a 180,000 gallon storage tank.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791).

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radio-active material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water before we treat it include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife.

- Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.

- Pesticides and herbicides, which may come from a variety of sources such as agriculture and residential uses.

- Radioactive contaminants, which are naturally occurring.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. We treat our water according to EPA’s regulations. Food and Drug Administration regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

### Water Quality Data

The table below lists all the drinking water contaminants that we detected during the 2020 calendar year. The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk. Unless otherwise noted, the data presented in this table is from testing done January 1-December 31, 2020. The state requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year.

Terms & abbreviations used below:

| Inorganic Contaminants |  | MCL | MCLG |  | Pelican Point Water | Range of detections | Sample Date | Violation | Typical Source of Contaminant |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Nitrate as nitrogen (ppm) |  | 10 | 10 |  | .500 3.87 2.52 6.65 |  | 10.27.2020 09.03.2020 06.29.2020 03.25.2020 | NO NO NO NO | runoff from fertilizer use |  |
| Disinfection Byproducts |  |  |  |  |  |  |  |  |  |  |
| Total Trihalomethanes (TTHMs) (ppb) |  | 80 |  | 60 | ND |  | 09.30.2020 | NO | by-product of drinking water chlorination |  |
| Halo-Acetic Acids (ppb) | 60 45 |  |  |  | ND |  | 09.30.2020 | NO |  | by-product of drinking water chlorination |
| Other Bromochloroacetic Acid |  |  |  |  | ND |  | 09.30.2020 | NO |  | by-product of drinking water chlorination |

- Maximum Contaminant Level Goal (MCLG): the level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

- Maximum Contaminant Level (MCL): the highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

- Action Level (AL): the concentration of a contaminant which, when exceeded, triggers treatment or other requirements which a water system must follow.

- n/a: not applicable • nd: not detectable at testing limit • ppb: parts per billion or micrograms per liter • ppm: parts per million or milligrams per liter • pCi/l: picocuries per liter (a measure of radiation)

About Nitrate: Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant, you should ask for advice from your health care provider.